## MORE DETAILED REPORT ON THE FEASIBILITY STUDY

1A   EXISTING POOL REFURBISHMENT OPTION A

(Refurbished pool complex)

The proposed works may be summarised as follows:

- Removal of demolished fabric as required;

- Raised paved area to pool surrounding;

- New filtration system;

- New lighting of the complex

- New raised walls and new gates;

- Pool cover;

- General basic refurbishment of existing changing facilities building;

- Planning requirements (possible):

-         New waste water treatment plant;

-         Upgrading of existing road access

-         Car parking;

-         New footpaths;

-         Storm water drainage;

-         Fuel interceptor;

-         Site lighting;

-         Fencing to river area;

-         Waste disposal bin area;

-         Landscaping requirements.

The items of work included in this option are described in detail above, and these items will form the basis of the redevelopment options, being included in all of the options.

This option is the least complex of all options.

It provides an upgrade of the facilities to a level below which works would not be economically feasible or worthwhile to construct.

The option will provide a working pool without heat or cover, with minimal upgrade of the changing facilities block.

Raised walls will provide enhanced security.

Planning requirements as detailed above (if required and enforced) will provide enhanced access, car parking, and safer movement through the site.