## MORE DETAILED REPORT ON THE FEASIBILITY STUDY

1C   EXISTING POOL REFURBISHMENT OPTION B (Refurbished pool, Heated Pool, Extendable Building)

The proposed works may be summarised as follows:

•           As Option 1B with the addition of an Extendable Building.

The Extendable Buildingis an ‘Off the Shelf’ building which can be erected on site without the need for substantial foundation or other building works. Some minor alterations to the front of the existing dressing room block may be required to allow an unbroken cover transition between the building and the interior of the fully extended building. The building may be ‘slid’ along tracks embedded in the ground from a closed position of overlapping sections to a fully open position covering the entire pool area. It gives a light airy aspect, but the building is not insulated, heated or ventilated.

The extendable building has been used extensively in the UK and less so in Ireland.

The building would be susceptible to damage from over-use, vandalism and extreme weather conditions. It is difficult at this stage to estimate the performance of the building to the extent to comment definitively on its feasibility, and site visits to existing applications and discussions with existing users would be recommended.

The option provides a solution which is less costly than a purpose built cover building of the same size and general specification (in terms of quality of final internal space provided).